RF.SYSTEM

User Manual

- Many thanks for your purchase;

- Please read the operating instructions carefully before use, and after reading, please take good care of it for view any time in future;

- The beauty instrument is based on the premise of healthy skin care and designed for beauty, and prohibited from the use and sales for treatment.

Content

Preface…………..…………………………………………. …....P3

What’s RF………………………………………………………..P3

Parts schems……………………………………………………..P4

Product mix content and connection method……………….....P4

Regulate preparation……………………………………………P5

Regulate way………………………...…………………………..P6

Maintaining after using ……..……………………………….....P14

Safty instruction after using…………………………………….P14

Cautions and warnings………………………………………….P15

Relevant daily management…………………………………….P16

About keeping ….…………………………………………….....P16

Other notices…………………………………………………….P16

Q&A…………………………………...........................................P17

Specification and technical parameter…………………………P17

Guarantee and after-sales service …..………………………….P18

Guarantee………………………………………………..………P19

Preface

Thank you very much for purchasing RF.SYSTEM Korean Mesotherapy power meter. In order to correct and safe use the product, please use the product properly after reading this manual.

What’s RF

RF.SYSTEM Korean Mesotherapy is to promote the use of monopolar radiofrequency skin deep heating technology, when through the subcutaneous tissue, affects the organization with a huge in electronic produce dichotomous electronic mobile "of biological reaction, make each other collision, rotating electronic distortion, produce biological heat energy, thus promote subcutaneous group quickly heating up, through the human body to high temperature from the function, stimulating the collagen fiber contraction, prompting collagen emerge, filling the gap and atrophy loss, rearranging and rebuild skin soft stents, realize firming skin, heal the wrinkles and recover the flexibility and burnish effect.

In the beauty salon, it can be used on the eye, face, skin lift of the neck, winkles removal, promotion, compact courses, and chest lifting, slimming body, carry up buttock, sculpture curve courses, etc.

Parts schemes

Four core loop handle   Two core probe       Three core frozen head

For eyes 15MM  For face 30MM   For face 40MM  For body 50MM

Product mix content and connection method

Remove the two screws in the middle back of the host, aim at the accessories frame bottom re-installed the two holes, be careful not to twist too tightly, or they may lead to the main host or accessory frame crack.

Aim at the three core socket, insert and lock the small end loop handle into the hole on the accessory rack.
Aim at the two core socket, insert and lock the small end of the probe handle into the hole on the accessory rack.

Insert tightly the probes which need to use immediately, the others placed successively on the holes on the accessory rack.

Regulate preparation

1. Connection (please refer the product mix content and connection method above).
2. Regulate the voltage selection, 115V for the standard voltage range for the 90-120V, 230V for 210-240V range. (This is very important, a wrong choice is easy to damage or affect the effectiveness of the instrument)
3. Confirm the main power switch off position at 0.
4. Plug in the power and turn the main power switch.
5. Gently coated with special rubber on the treating parts. (Cleaning before conditioning, more better)
6. Installed the RF head on the probe handle. (Connect the metal cylinder into the connection hole to the deepest)
7. Subject's hand with a non-drying (dry cleaning) grip loop handle, thumb put on the red power button on the safe preparation, if not press the red switch, the machine will not work.
8. Regulate the time required.

Regulate way

1. Prepared (see the regulate preparation above)
2. Press the multifunction key, then it start to work, adjust the proper intensity.
3. Fit the probe on the treating parts and constantly moving around, meanwhile  can adjust the intensity. Such as non-operating by the surgeon himself, shall immediately advisory feelings, in order to avoid scald. In the conditioning process, such as the recipient feel strong, can take over the loop handle frame to pause state, that is suspension of power supply.
4. If appear dryness phenomenon in the conditioning, please pause and then add dedicated gel.
5. If need to replace the probe in the conditioning, firstly pause, and re-regulate the time and intensity.

Facial regulate (20 minutes/time, 3 to 7 days/times)

Use Φ B300mm probe or Φ C40mm probe

- Looped massage stimulate deep hot of the chin center.

- From the lower jaw to draw massage with a line way back and forth.

- Range on both sides of a triangular face with circular moves.

- Massage the jaw ------ corners of the mouth ----- ear----- mouth jaw in line drawing manner.

Eye brow regulate (15 minutes, 3 to 7 days/times)

Use Φ A15mm probe or Φ B30mm probe

1. Along the cheek bone, massage the line part below the eyes

2. Massage both sides of the line parts of the nose
3. To massage the arc eye area

4. From brow, massage hair direction back and forth

5. Massage from the forehead central to outboard

6. Following the eyebrows growth direction rolling regulate

Neck regulate (15 minutes, 4-7 days/times)

Use Φ C40mm probe

1. According to stimulate deep hot of the parotid gland

2. According to the lower jaw direction to massage muscles and lock breed dash forward more than small bone muscle

3. Massage back and forth by a balance of conditioning to reduce neck wrinkles

Chest regulate (30 minutes, 2-3 days/times)

Use Φ C40mm probe or Φ D50mm probe

1. From bottom to up "之" shaped massage sternal area

2. Massage the arm fat free concentrated to alar fat

3. Armpit looped massage

4. According to the edge of the breast and arc massage

5. Massage from he inside of the breast to alar direction

6. With looped massage to masage and consolidate arm free fat, eliminate accessory breast

7. From inside to outside massage the chest range ascend and tight

8. To stimulate meridians modes on the small range and massage breast, eliminate hyperplasia, active mammary gland

9. Start by mammary areola gradually to expand the scope of massage, make fat positioning, increase the aesthetic feeling

The waist and abdomen regulate (25 minutes, 2-3 days/times), use Φ D50mm probe

1. In order to navel as the center expanded massage range

2. The chest nest, former abdomen both sides, below navel (into the diamond shape) do from inside to outside of the way looped massage

3. With navel as the center, from the top, bottom, left and right on fat in four directions

4. From the dish bone edge to the groin size bone way looped stimulate deep hot, promoting effect

5. From inside to outside rib loop massage

6. From inside to outside side in a straight line massage back and forth

7. Massage from inside to outside of rib by tiras way

The hips, the lower half regulate (30 minutes, 2-3 days/time) use Φ D50mm probe

- In a straight line, or a circle the massage fat gathered to the groin area

2. Massage baseboard

3. Massage toes

4. Massage heel tendon

5. Loop massage calf muscles

6. With loop unbridled massage thigh muscles

7. Concentrate and ascend the hips

Arm tight regulate (20 minutes, 2-3 days/times), use Φ D50mm probe

1. Pull muscle to arms direction

2. To alar direction to massage the triceps and deltoid muscle

3. Massage the triceps edges

4. Massage on both sides armpit back and forth

Maintaining after using

Please turn off the power after using. Cleaning the equipment body, working hands, socket and the accessories frame and keep in the safety place.

Safety instructions for use

This book records the symbols and precautions for the safety of users and the proper use of the product, and to avoid causing harm users or others or damage to the other, according to note the significant harm or damage or force level, divide to the possible misuse of "Warning" and "Attention" two kinds.

Warning

Mark the situation when misuse may cause death or serious injury.

Injury refers to the blind, high temperature for burns, get an electric shock, that causes sequela and hospitalization, medical treatment for long-term situations.

Cautions and warnings

Relevant daily management

Probe with dirt, grease, be sure to wipe clean.
Do not pull the cord, or may cause breakage.
Make sure the socket after use unplugged.

About keeping

Please keep in place out of reach of children.

Please avoid the bathroom in humid and places.

Please don't put wire winding host or accessories.

Please don't make wire coil or knot.

Other notices

Please use suitable skin dedicated gel, if there is something wrong with your skin, please stop using and ask the doctor for help.

Patients who have heart disease or have to use the heart rate regulator, is not allowed to use this equipment.

Patients who have faver, acute disease, serious disease, skin disease, hypertension, neoplastic disease, after operation, feeling tired and over exciting and pregnant woman are not allowed to use this equipment.

It ‘s not allowed to use this equipment on the private part, anus and the navel.

Not used for the skin where is embedded silicon rubber or metal.

Please use the equipment after more than six months if you have ever done any operation or Injected botox.

This product is a beauty equipment, please do not used for other purposes.

Please do not require the purpose of medical effects

Please ask the doctor for consultation if you are already under his treatment.

Be careful of fire and burns.

Please choose the right voltage mode before using.

Please cut off the power immediately if any accident happen.

Q&A

Q1 The skin do not feel exciting when using.

A．Please check whether the dedicated gel is enough, the equipment is started, the operator is holding the loop handles and the intensity is strong enough.

Q2 Why every time have different feelings when using the equipment?

A．Feelings are depends on many factors, such as which body part is under treatment, your physical condition, the working hands, the dedicated gel, your adaptability to the treatment. Please adjust the intensity according to the feeling of that moment.

Q3 There are more and more acne.

- The process of treatment will stimulate the metabolism of subcutaneous tissue, it will loss of water, the proportion of grease will increase and then result in more and more acne. It will be alleviate if you clean the face and use hydrating lotion after treatment.

Q4 The skin will be aglow, fever, itch after treatment.

- Please check if the intensity is over-strong, time is over-long and the dedicated gel is enough or not. Besides, it maybe because of dry or not adaptable. Please adjust the intensity and time, add or change the dedicated gel.

Q5 Is it more strongly I feel more better?

The skin feeling is mainly depends on the output strength and the time the working hand stay on the skin. When the output strength increases, the working hand should stay on the skin in less time. If you feel warm, it is the best effect. The heat will spread from the deep skin in about 30 minutes.

Specifications and technical parameters

Product name: RF.SYSTEM Korean Mesotherapy

Voltage & current: 90-120V/210-240V

Frequency: 50-60HZ

Supreme power consumption:350W

Function frequency:1.2Mhz

Material: ABSresin(host)

NW: about 3.5KG

Packing specification: 350MM*350MM*280MM

GW: about 5KG

Guarantee and after-sales service

About guarantee

The guarantee is enclosed on the last page of the manual. Please make sure that there arebuy store, purchase date filled. Read carefully and keep well, the warranty is 1 year afterpurchase date.

We only guarantee the body of the equipment, not include the accessaries and care products.

Before sending for repair

Before sending for repair, please check with the user manual again, it there is

still problems, please contact with the company where you buy the equipment.

Contact with

Please contact the company where you buy the equipment

If the equipment is out of warranty

Please contact the company where you buy the equipment. If the equipment can be use after repair, we can provide service depending on the willing of the customers and just need to paid some reasonable fee. If you use the equipment according to the instructions of the user manual, and there is some wrong within the warranty, we will fix it for you free. When applying free repair, please send the goods and this paper to the company where you buy the equipment.

Within the period of guarantee, if any of the following conditions, in principle as paid repair:

(1) Due to non-compliance with instructions and failure caused by misuse or damage.
(2) Due to improper repair or reconstruction caused by the failure or damage.
(3) The purchase of storage locations, transportation, such as falling or injury caused by failure.
(4) Non-general household use (such as salon business use) caused by the failure or damage.
(5) Does not provide guarantees of the situation.
(6) Ensure that the book does not fill out the purchase date, customer name, dealer name, or change words such situations (using mail-order customers, please provide documentation)
(7) The placed cars, boats, etc. caused by the failure or damage.
(8) Fire, earthquake, flood, thunder and other natural disasters to change, abnormal voltage, not to develop the use of the power supply (voltage, frequency) caused by such failure or damage.
(9) Due to a hard object collision or friction caused by the failure or damage.
(10) Or non-authorized by the company for repair or reconstruction caused by the failure or damage.

Guarantee

This guarantee issued only once, please take good save.

Disposal of this product, please according to local waste disposal requirements, as non-combustible material to handle.

--------------------------------------------------------------------------------------------------

RF.SYSTEM Korean Mesotherapy

Guarantee

The company ensures that the product quality is good, but in case of failure, please contact the store you buy.

Date of purchasing:                    Y      M       D

Free during the warranty period: 1 year from the date of purchase

The customer's name:              Phone number:

Address:

Dealers’name:

Address:

Phone number:

The dealer: please make sure to fill out the guarantee to customers

Please try to fill out the fault content:

…………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………….............................................................................................................................................................................................................................................................................

# Text boxes

2

3

On/Off of refrigeration

Connector of RF negative head

On/Off switch

Working head adjusting

Time adjusting

Connector of frozen head

Connector of RF heads

4

Power switch

Power interface

5

6

7

8

9

10

11

12

13

14

Not to decompose, transform, and repair.

If the unusual circumstances, please immediately dial the plug.

Do not use wet hands in dial the power plug.

May cause fire, burns

Don't keep in wet, high temperature and in the dust place.

Wear the pacemakers, pregnant women, should avoid to use.

This product with the household electrical outlet and design, if not plug and receptacle, do not force insert, please consult the dealers and manufacturers.

The machine body and all parts do not touch water, not in moisture place.

Do not make electrical wiring damaged or processing, and you must not excessive bending, pull, wire twisted, placed heavy, clamp, should be in the range can be obtained using wire head.

Do not young children touch the electric wire, plug.

Do not drop or collision.

Not in the dry skin condition to use (former please add dried dedicated gel).

Banned probe and the loop handles contact.

Pull the plug to hold the plug.

Don't keep in high temperature more wet, the place of the dust.

The machine and all accessories theme not touch water, not in moisture use.

At present in the treatment of people, please ask doctors.

Use the correct voltage should be labeled（AC90-120V or AC210-240V, please choose the voltage mode before use.）

15

16

17

18

19