WL-919A

3 In 1 Slimming Machine

Manual

Functions Include:

1 -Multi-polar RF (Tripolar, FACE RF, BODY RF)

2-Vacuum

3-  40K Cavitation

Warning

Thanks for using our company's products, in order to fully make

use of the products, we sincerely suggests follow:

◆◆Please read the instruction in detail and keep it well for further

reading and consulting.

◆◆Please follow the instruction to fit and operate the machine.

◆◆Please do not remove and change any accessories of the

machine.

◆◆It forbids others to open and remove the mainframe except the

authorized people in the company.

◆◆It forbids others to change and maintain the machine except

the professional people.

◆◆Please contact us if there is any trouble during operation.

Working principal

wave fat system

With  collective  strong  sound  wave  head,  strong  sound  wave  of  40KHZ may  be  emitted  to  vibrate fat cells at top speed and produce numerous vacuum air pockets inside and outside the fat cells,  robustly  impact  fat  cells  to  generate  introverted  blast  and  disintegrate  triglyceride  into glycerol and free fatty acids.  Then RF waves at frequency  of 1M HZ is  used for exhausting the integrated glycerol and free fatty acids through hepatoenteral circulation. Finally, vacuum RF and energy electrode are used for positioning and tightening fat. In physics, it is known as "cavitation". Micropore introverted blast inside and outside cell may lead to enhanced molecular motion and a higher energy level and this  will finally cause fat cell rupture and thereby achieve the  effects  of body building and losing weight.

SKETCH of the CONTROL PANEL

Click on the picture of the corresponding the handle enter the operration  interface

Instrument Function and Treatment Principles

- Vacuum Bipolar RF handle

Dissolve fat, lymphatic drainage, firm skin and enhance skin elasticity

Body-shaping Equipment adopts the most advanced high-speed turbine negative

pressure technology, and innovative three-dimensional conversion

technology,combining with microcomputer chip controlled patent roller axis,and has an anti-geocentric attract effect on the skin.

Attracting and outspreading the fibrillar connective tissue of different cortexes , through the rhythmic massage and effectively break down subcutaneous fat and reduce cellular tissue accumulation of fat , use of the patents to massage deeply roller different parts of thebody ,bring up fat layer in dermis, curium and subcutaneous ,and release micro-vascular lymphatic vessels at the same time, promoting metabolism and to make fat cells in a passive movement to fat acids, even within the cells of toxins, also to be eliminated from lymphatic system in vitro, the detoxitication enhance the fuction of as many as four times. Can be done manually or any other instruments can not achieve the perfect results. At the same time, skin is more elastic and luster.It is the "healthy body sculpture management" expert

- BODY  RF handle

Being integrated with the most advanced RF technology and radio

frequency, the

instrument may directly reach the deep-seated fat body and have the excellence of targeted positioning RF. In the fast-active state, fat cell tissue may generate friction heat, increase local temperature and remove excess fat and toxin from the body through sweat gland, enterohepatic circulation and lymph and ultimately achieve the effect of dissolving fat.With controlled depth technology, inlaid  diamond  particles of different sizes  may rub skin alongits pattern, adjust suction strength by means of vacuum draw and rub with negative pressure strongforce to directly explode thick fat. Thus, the effects are very obvious: Enhance blood circulation, accelerate  the  decomposition  of  fat,  take  away  wastes,  enhance  the  effect  of  removing  cellulite, effectively  improve  the  state  of  areolar  tissue,  remove  stubborn  fat  and  improve  the  sufficient  absorption condition of diet products.

- 40Khz Ultrasonic handle

Strong sound wave explosion fat head

With  collective  strong  sound  wave  head,  strong  sound  wave  of  40KHZ  may  be  emitted  to  human  body  for  impacting  fat  cells  fiercely  and causing  friction  motion  between  fat  cells.  This  may cause  effective consumption  of  calories and  moisture in fat  cells and reduce the size  of fat  cells.  What's more,  sound  wave

vibration  Vmay  cause  fierce  impact  of  fat  cells  to  make  them  be exploded  instantaneously,  reduce  the  amount  of  fat  cells  and  thereby  achieve  the  effects  of  removing fat.

- FACE  RF handle --Facial wrinkle elimination, tightening and lifting

A capacitive coupling electrode is used for transmitting radio-wave energy and generating an  electric field for entering into subcutaneous tissue through the skin surface. In the high-frequency

of  450khz,  this  electric  field  changes  its  polarity  for  450,000  times  per  second.  To  reply  to  the rapid   change  in  electrode,  directions  of  electrical  particles the  skin  are  also  changed.  By  this  time, natural electric resistance in thesubcutaneous tissue moves and generates heat energy. As thepapillary dermis collagen may immediately shrink when the temperature is within the range from 60 to 70 Celcius degree, after wrinkle treatment, client may immediately sense the skin tightening effects  as  it  is  being  lifted  and  firmed.  When  collagen  is  produced  continuously,  thickness  and density of the skin papillary dermis may be increased to remove wrinkles, eliminate scars, restore skin elasticity and gloss and make it be blonde and smooth. While collagen is increased, fresh skin is  generated  in  the  position  of  operation  and  wrinkles  are  removed  by  large  amount  of  cells.  In addition, when cortex without elasticity or that with thick horny layer in the area with wrinkles is separated, surrounding skin will also be renewed.

- Tripolar facial handle

Stick to enhance rejuvenation: use of positive and negative micro-current activation energy release skin cells, so that rapid  synthesis of fibroblasts Collagen, elastic skin revert to the original compact, the skin causing t the skin to stimulate the muscle tension is increased, thereby gradually   eliminate wrinkles, prevent skin aging, restoring skin elasticity, facial improvement.

Caution for using RF

1.Beautician should wear insulated gloves during operation.

2.Do not wear any aglet, both for the beautician and the users.

3.The electrode probe must be fully in contact with skin.

4.Do not make the RF electrode stay on any part without moving. Keep it

moving on skin slowly.

5.Skin around eyes and forehead is very thin, the RF output intensity

should be relatively weakened.

6.Do not contact skin with unipolar when using of bipolar, tripolar,

hexpolar RF work head otherwise it will produce pulse discharge, gel

paste etc. Products like gel maybe evaporated into a mist.

Using Guidance

1. Operation schematic drawing of 40K cavitation explode work head

Massage the fat of thigh in circles

2. Operation schematic drawing of sextupole RF laser work head for

body

Waist and abdomen care（25minutes，2-3 days/time）

- Massage to navel as center and gradually expanding the range

②Massage chest nest, both sides of former abdomen and below the

navel(into diamond) from inside to outside in circles.

③ Concentrated the fat from 4 directions to navel as center.

④ Massage from end of pelvis to groin in circles.

⑤ Massage from inner rib to outer edge in circles.

⑥ Massage back and forth from inner rib to outer edge in straight line

⑦ LiftiHip and he lower part of the body care（30minutes，2-3days/time）used the

ΦD50mm probe

Concentrated the fat to groin in circles or straight line.ng from inner rib to outer edge after massage.

3. Operation schematic drawing of Tripolar RF work head for face

① Massage the mandible center in circles to produce deep heat.

- Massage lower jaw in lines.

③ Massage the triangle zone of both sides of the face in circles.

- Massage from jaw to angulus oris to ear in lines.

④ Massage from jaw to angulus oris to ear in lines.

ADVERTION

- Pregnant women or women during in menses.

- Epileptic

- Patients with malignancy.

- Patient whose wound after operation has not healed up.

- Acute inflammation or epidemical patients.

- Whom with heart diseases or with heart pacemaker..

- Whom with kidney (gall-stone ) disease.

- Who was embedded metal object or silica gel.

- Who in menses, birth control period, emiction  incontinence period, or accepting the belly operation.

- Whose body always take much inner hot.

- Who has the genetic hypersensitivity.

NOTICE

  - Be sure to use the special ultrasonic gel.

  - Avoid knocking the us head.

  - For avoiding burning the head, during operation, please prepare enough ultrasoinc gel.

  - Don’t stay in one place, avoid treating on the bone.

  - Don’t use disinfectant product to disinfect the us head. We suggest the wet cotton or dry towel enough.

  - Check the machine power cord if it is connected well.

  - If the machine will not use for a loing time, please switch off it, and power off.

  - Please take off all metal decoration from the operator and patient’s body.

  - If continuous using 1 hour, please pause the machine about 10 minutes, then using again.

  - During the operation, be sure not to accept other treatment.

#### Technical Parameters

Power Supply Input: 100-110V 60Hz
220-240V 50Hz
Power :130W

40K cavitation head:
Power supply output:150V
Frequency:40KHz
Power:25W

Vacuum+RF head:
Power supply output: 66V
Freqeuncy:450K
Power: 95W

Bipolar RF head for eyes' around:
Power supply output: 24V
Freqeuncy:3MHz
Power:1W

Sextupoler RF head for body :
Power supply output: 66V
Freqeuncy:1MHz
Power:35W

Tripolar Face RF head:
Power supply output: 66V
Freqeuncy: 3Mhz
Power: 35W

#### Package Including

Main Machine x1 
40KHz Cavitation Head x1
Vacuum RF Head x1
Bipolar RF Head for eyes' aroud x1
Tripolar RF head for face x1
Sextupolar RF head for body x1
Power cord x 1
Holder for probes x1